## Slide 1: High-speed imaging
Claus-Dieter Ohl

## Slide 2: CCD vs. CMOS sensors

## Slide 3: Single CMOS pixels
https://en.wikipedia.org/wiki/Active-pixel_sensor
Storage CCD sensor
of the Shimadzu HPV 1

## Slide 4: Full frame, CMOS and single image cameras
M. Versluis, Exp. Fluids (2013)
HPV X-2
128 frames
Pharsighted
continous imaging

## Slide 5: CMOS based high-speed cameras
Photron Mini AX200:
Up to 900,000 frames/s
Shimadzu HPV X-2
Up to 10 million frames/s
Off-sensor memory
On-sensor memory

## Slide 6
Framing rate off sensor memory camera (Mini AX200)
Framing rate limited by pixel clock and number of ADC converters

## Slide 7: Shimadzu HPV X-2

## Slide 8
Light source controls illumination
Camera controls illumination
Exposure control

## Slide 9: Light Sources
LED based light source
Light transmitted through liquid light guide
Pulsed laser diode based light source
Pulse duration about 10ns
fs and ps high repetition rate lasers, coupled into
multimode glass fiber up to 10MHz
LED up to 100W
electrical power
Cheap option photo strobe

## Slide 10: Importance of Illumination
Diffuse illumination
Collimated illumination
https://www.opto-e.com/en/basics/illumination-geometries-and-techniques